# Raman Spectrum Analysis — DNA HaCaT on CaF₂

Substrate: CaF₂ (reference) | Excitation: 532 nm | Objective: 100X | Exposure: 10 s × 4 acc | Grating: 600 gr/mm

Sample: DNA HaCaT, 20 ng/µL, 5 µL drop, dried before measurement

# How to Run the Script (PyCharm)

Install dependencies — open PyCharm Terminal and type:
   pip install numpy scipy matplotlib

Open raman_plot.py in PyCharm.

Check line 6: make sure FILE_PATH matches your exact filename and folder.

Press Run (Shift+F10). The plot will appear and a PNG will be saved in the same folder.

# Detected Peaks & DNA Band Assignments

| cm⁻¹ | Intensity (counts) | Above Baseline | Assignment |
| --- | --- | --- | --- |
| 666 | 223 | +20 | Guanine ring deformation |
| 724 | 239 | +35 | Adenine ring breathing |
| 782 | 303 | +100 | O-P-O backbone / Thymine + Cytosine ← strong |
| 806 | 264 | +61 | Deoxyribose C-C stretch |
| 865 | 235 | +32 | Deoxyribose backbone |
| 912 | 233 | +30 | Backbone C-C / C-O stretch |
| 1002 | 241 | +38 | Phenylalanine / ring modes |
| 1058 | 244 | +41 | Backbone C-O stretch |
| 1097 | 272 | +69 | Symmetric PO₂⁻ stretch (phosphate) ← diagnostic |
| 1179 | 252 | +49 | Cytosine C-H / Thymine |
| 1242 | 305 | +102 | Antisymmetric PO₂⁻ stretch ← diagnostic |
| 1295 | 314 | +111 | Cytosine + Adenine (C-H, N-H) |
| 1326 | 308 | +105 | Adenine + Guanine |
| 1367 | 298 | +95 | Thymine + Adenine |
| 1406 | 274 | +71 | Deoxyribose CH₂ |
| 1483 | 340 | +137 | Adenine + Guanine ring stretch ← TALLEST PEAK |
| 1574 | 321 | +118 | Adenine + Guanine in-plane ring |
| 1684 | 276 | +73 | Guanine C=O / Thymine C=O |
| 1776 | 234 | +31 | Weak carbonyl overtone |

# Key Observations

Tallest peak at 1483 cm⁻¹: purine (Adenine + Guanine) ring stretch — primary DNA fingerprint marker.

Three phosphate backbone bands at 782, 1097, 1242 cm⁻¹ confirm intact DNA double-strand structure.

1295 + 1326 cm⁻¹ doublet: classic nucleobase cluster (A+G+C).

Signal above baseline is modest (20–137 counts) — this is normal Raman on CaF₂ without plasmonic enhancement.

This spectrum serves as the reference for calculating SERS Enhancement Factor when compared to the Ag/SiNW substrate.

Baseline estimated from flat region 400–650 cm⁻¹ ≈ 203 counts.